## Sheet1
PARAMETER
SiteID |  | ada | identName
System Type |  | ada tapi masih misah | 1.identInternalVersion 2.identUserConfigVersion 3.identControllerSoftwareVersion 4.identModel
Phase L1 Voltage | V | ada | psInputLineAVoltage
Phase L2 Voltage | V | ada | psInputLineBVoltage
Phase L3 Voltage | V | ada | psInputLineCVoltage
Phase L1 Current | A | tidak ada | diambil dari perhitungan
Phase L2 Current | A | tidak ada | diambil dari perhitungan
Phase L3 Current | A | tidak ada | diambil dari perhitungan
AC Energy Consumption | kWH | tidak ada | todayload1Energy
DC Output Voltage | V |  | systemVoltage
Backup Time
Battery Temperature |  |  | psTemperature1
Total DC Load Current | A |  | loadCurr1+loadCurr2+loadCurr3+loadCurr4
Total DC Load Power | kW |  | todayload1Energy+todayload2Energy+todayload3Energy+todayload4Energy
DC Energy Consumption | kWH |  | battEnergy
Rectifier Quantity |  | jumlah modul rectifier adanya | rectNum
Rectifier Current | A |  | rectIout
Rectifier Rate Voltage | V |  | rectVout
Rectifier 1 Status (Modul Status) |  |  | onoffStatus
Rectifier 1 Serial Number |  |  | rectSerialNum
Rectifier 2 Status (Modul Status) |  |  | onoffStatus
Rectifier 2 Serial Number |  |  | rectSerialNum
Rectifier 3 Status (Modul Status) |  |  | onoffStatus
Rectifier 3 Serial Number |  |  | rectSerialNum
Rectifier Status
Total AC Input Power | kW | masih dalam bentuk volt (V) | rectVin
Rectifier Load Usage |  |  | rectPower
Rectifier Temperature |  |  | rectTemper
Battery Disconnect Status |  |  | psStatusBatteryMode
Total Battery Current | A | ada | psBatteryCurrent
Battery Current | A | ada | psBatteryCurrent1
Total Rated Capacity | Ah |  | ?
Total Remaining Capacity | Ah |  | buat value sendiri
Total Remaining Capacity Percent | % |  | psBatteryCapacity1
ALARM TRAP
Rectifier Door Open/Status
AC Fail / Mains Fail
Communication Lost
Rectifier Fail
Rectifier Temperatur |  |  | rectTemper
Battery Stolen
Load Fuse Fail
LVD Fail